EDG No objection provided... Damba x1600 7/27/19

Subject: LNO Request by Entergy New Orleans, Inc., to install gas mains and services by boring and excavations at 500 Tchoupitoulas Street approimately 545 feet landward of the LD MR floodwall, vicinity of baseline station 231+53, at New Orleans, LA in Orleans Parish.

MailTrax 19-11085

1. No objection provided open excavations and borings are performed and completed while Mississippi River stage is below +15 feet on the Carrollton Gage.